## Sheet1
Skill Name
NGA-PE-01-Inspecting for Shorted Casings
NGA-WE-01-Inspecting for Shorted Casings
NGA-PE-02-Measuring Pipe-To-Soil Potential
NGA-WE-02A-Measuring Pipe-To-Soil Potential (Measuring and Interpreting Readings)
NGA-PE-02-Measuring Pipe-To-Soil Potential
NGA-WE-02B-Measuring Pipe-To-Soil Potential (Measuring Only)
NGA-PE-02C-Measuring Pipe-to-Soil Potential (Close Interval Survey)
NGA-PE-03-Conducting a Soil Resistivity Survey
NGA-WE-03-Conducting a Soil Resistivity Survey
NGA-PE-04-Conducting Interference Testing
NGA-WE-04A-Conducting Interference Testing and Remediation
NGA-PE-04-Conducting Interference Testing
NGA-WE-04B-Conducting Interference Testing (Only)
NGA-PE-05A-Electrically Checking for Proper Performance of Diodes and Interference Bonds, Including Testing for A/C Mitigation
NGA-WE-05A-Electrically Checking for Proper Performance of Diodes and Interference Bonds, Including Testing for A/C Mitigation
NGA-PE-05B-Electrically Checking for Proper Performance of Diodes and Interference Bonds, Excluding Testing for A/C Mitigation
NGA-WE-05B-Electrically Checking for Proper Performance of Diodes and Interference Bonds, Excluding Testing for A/C Mitigation
NGA-PE-06A-Measuring Wall Loss
NGA-PE-06A/06B-Visually Evaluating Severity of Atmospheric Corrosion
NGA-WE-06-Inspecting for Atmospheric Corrosion
NGA-PE-06A/06B-Visually Evaluating Severity of Atmospheric Corrosion
NGA-WE-06-Inspecting for Atmospheric Corrosion
NGA-PE-07/13A-Ensuring Operation of a Rectifier on a Pipeline (Including Troubleshooting)
NGA-WE-07/13-Installing/Replacing and Ensuring Operation of a Rectifier on a Pipeline
NGA-PE-07/13B-Ensuring Operation of a Rectifier on a Pipeline (Excluding Troubleshooting)
NGA-WE-07/13-Installing/Replacing and Ensuring Operation of a Rectifier on a Pipeline
NGA-WE-08-Visually Inspecting for Internal Corrosion
NGA-WE-08-Visually Inspecting for Internal Corrosion (Critical AOC)
NGA-PE-09-Removing Coupons/Sample Gas or Liquids for Analysis and Evaluation of Internal Corrosion
NGA-WE-09-Removing Coupons/Sample Gas or Liquids for Analysis and Evaluation of Internal Corrosion
NGA-PE-10-Clearing a Shorted Casing
NGA-PE-11/12/17B-Pipe Coatings (Hot Applied Tape)
NGA-WE-11/12/17A-Pipe Coatings (General Knowledge)
NGA-PE-11/12/17C-Pipe Coatings (Heat Shrink Sleeve)
NGA-WE-11/12/17A-Pipe Coatings (General Knowledge)
NGA-PE-11/12/17D-Pipe Coatings (Wax Tape)
NGA-WE-11/12/17A-Pipe Coatings (General Knowledge)
NGA-PE-11/12/17E-Pipe Coatings (Mastic)
NGA-WE-11/12/17A-Pipe Coatings (General Knowledge)
NGA-PE-11/12/17F-Pipe Coatings (Cold Applied Tape)
NGA-WE-11/12/17A-Pipe Coatings (General Knowledge)
NGA-PE-11/12/17G-Pipe Coatings (Two Part Epoxy)
NGA-WE-11/12/17A-Pipe Coatings (General Knowledge)
NGA-WE-11/12/17G-Pipe Coatings (Two Part Epoxy)
NGA-PE-11/12/17H-Pipe Coatings (Single Coating System Paint)
NGA-PE-11/12/17I-Pipe Coatings (Multi-Layer Coating System)
NGA-WE-11/12/17A-Pipe Coatings (General Knowledge)
NGA-PE-11/12/17J-Electrical Coating Holiday Detection (Jeeping)
NGA-PE-14/16A-Installing/Replacing an Anode or Test Station on a Pipeline by Exothermic Welding
NGA-WE-14-Installing/Replacing an Anode
NGA-PE-14/16B-Installing/Replacing an Anode or Test Station on a Pipeline by Mechanical Connection
NGA-WE-14-Installing/Replacing an Anode
NGA-PE-15-Testing Electrical Isolation Fittings
NGA-WE-15-Testing Electrical Isolation Fittings
NGA-PE-14/16A-Installing/Replacing an Anode or Test Station on a Pipeline by Exothermic Welding
NGA-WE-16-Installing/Replacing a Corrosion Test Station on a Pipeline
NGA-PE-14/16B-Installing/Replacing an Anode or Test Station on a Pipeline by Mechanical Connection
NGA-WE-16-Installing/Replacing a Corrosion Test Station on a Pipeline
NGA-PE-18A.1-Leak Survey (Flame Ionization)
NGA-WE-18A-Conducting Gas Leakage Surveys
NGA-PE-18A.2-Leak Survey (Optical Infrared)
NGA-WE-18A-Conducting Gas Leakage Surveys
NGA-PE-18A.3-Leak Survey (Laser)
NGA-WE-18A-Conducting Gas Leakage Surveys
NGA-PE-18A.4-Leak Survey (Catalytic/Semiconductor)
NGA-WE-18A-Conducting Gas Leakage Surveys
NGA-PE-18B.1-Leak Survey (Interior Jurisdictional Piping)
NGA-PE-88-Operation of a Combustible Gas Indicator
NGA-WE-18B.1-Conducting Gas Leakage Surveys (Interior Jurisdictional Piping)
NGA-WE-19A-Patrolling and Inspecting Right of Ways, Pipeline Markers and Exposed Above Ground Mains
NGA-WE-19A-Patrolling and Inspecting Right of Ways, Pipeline Markers and Exposed Above Ground Mains (Critical AOC)
NGA-WE-19B-Patrolling and Inspecting Right of Ways and Pipeline Markers
NGA-WE-19B-Patrolling and Inspecting Right of Ways and Pipeline Markers (Critical AOC)
NGA-PE-201A-Removing Water or Liquids from a Drip or Main (Low-Pressure Drip)
NGA-PE-201B-Removing Water or Liquids from a Drip or Main (Elevated-Pressure Drip)
NGA-PE-202A-Clearing a Service Line Using CNG
NGA-PE-202B-Clearing a Service Line Using Methanol
NGA-CERT-203-Recovering Blowdown Gas by Evacuation and Compression (Manufacturer Certification)
NGA-PE-203-Recovering Blowdown Gas by Evacuation and Compression
NGA-PE-20B-Investigating Leak and Odor Complaints (Outside)
NGA-PE-20C-Investigating Leak and Odor Complaints (Inside)
NGA-PE-88-Operation of a Combustible Gas Indicator
NGA-WE-20A-Investigating Leak and Odor Complaints (Inside and Outside)
NGA-PE-20B-Investigating Leak and Odor Complaints (Outside)
NGA-PE-88-Operation of a Combustible Gas Indicator
NGA-WE-20B-Investigating Leak and Odor Complaints (Outside Investigation Only)
NGA-PE-20C-Investigating Leak and Odor Complaints (Inside)
NGA-PE-88-Operation of a Combustible Gas Indicator
NGA-WE-20C-Investigating Leak and Odor Complaints (Inside Investigation Only)
NGA-WE-20D.1-Leak Classification (Grades 1, 2, and 3)
NGA-PE-20D.2-Leak Classification (Grades 1, 2A, 2, and 3)
NGA-WE-20D.3- Leak Classification (Maine)
NGA-PE-21-Line Locating and Mark Out
NGA-WE-21-Line Locating and Mark Out
NGA-WE-21CT-State Damage Prevention Regulations (Connecticut)
NGA-PE-21-Line Locating and Mark Out
NGA-WE-21-Line Locating and Mark Out
NGA-WE-21GA-State Damage Prevention Regulations (Georgia)
NGA-PE-21-Line Locating and Mark Out
NGA-WE-21-Line Locating and Mark Out
NGA-WE-21IA-State Damage Prevention Regulations (Iowa)
NGA-PE-21-Line Locating and Mark Out
NGA-WE-21-Line Locating and Mark Out
NGA-WE-21IL-State Damage Prevention Regulations (Illinois)
NGA-PE-21-Line Locating and Mark Out
NGA-WE-21-Line Locating and Mark Out
NGA-WE-21MA-State Damage Prevention Regulations (Massachusetts)
NGA-PE-21-Line Locating and Mark Out
NGA-WE-21-Line Locating and Mark Out
NGA-WE-21ME-State Damage Prevention Regulations (Maine)
NGA-PE-21-Line Locating and Mark Out
NGA-WE-21-Line Locating and Mark Out
NGA-WE-21MO-State Damage Prevention Regulations (Missouri)
NGA-PE-21-Line Locating and Mark Out
NGA-WE-21-Line Locating and Mark Out
NGA-WE-21NH-State Damage Prevention Regulations (New Hampshire)
NGA-PE-21-Line Locating and Mark Out
NGA-WE-21-Line Locating and Mark Out
NGA-WE-21NJ-State Damage Prevention Regulations (New Jersey)
NGA-PE-21-Line Locating and Mark Out
NGA-WE-21-Line Locating and Mark Out
NGA-WE-21NY-State Damage Prevention Regulations (New York)
NGA-PE-21-Line Locating and Mark Out
NGA-WE-21-Line Locating and Mark Out
NGA-WE-21PA-State Damage Prevention Regulations (Pennsylvania)
NGA-PE-21-Line Locating and Mark Out
NGA-WE-21-Line Locating and Mark Out
NGA-WE-21RI-State Damage Prevention Regulations (Rhode Island)
NGA-PE-21-Line Locating and Mark Out
NGA-WE-21-Line Locating and Mark Out
NGA-WE-21VT-State Damage Prevention Regulations (Vermont)
NGA-PE-21A-Line Locating and Mark Out Using a Traceable Rodder
NGA-WE-21-Line Locating and Mark Out
NGA-WE-22A-Inspecting 3rd Party Excavations for Damage Prevention, Including Root Cause Analysis
NGA-WE-22A-Inspecting 3rd Party Excavations for Damage Prevention, Including Root Cause Analysis (Critical AOC)
NGA-WE-22B-Inspecting 3rd Party Excavations for Damage Prevention, Excluding Root Cause Analysis
NGA-WE-22B-Inspecting 3rd Party Excavations for Damage Prevention, Excluding Root Cause Analysis (Critical AOC)
NGA-WE-23/24-Inspecting the Condition of Exposed Pipe
NGA-WE-23/24-Inspecting the Condition of Exposed Pipe (Critical AOC)
NGA-WE-25A-Assessment of a Transmission Pipe
NGA-WE-25A-Assessment of a Transmission Pipe (Critical AOC)
NGA-PE-25B-Repairing a Transmission Pipe (Repair Clamp)
NGA-CERT-25C-Manufacturer Certificate (Composite Fiber Wrap)
NGA-PE-25C-Repairing a Transmission Pipe (Composite Fiber Wrap)
NGA-CERT-25D-Manufacturer Certificate (Composite Repair Sleeve)
NGA-PE-25D-Repairing a Transmission Pipe (Composite Repair Sleeve)
NGA-PE-25E-Repairing a Transmission Pipe (Hot Tap Repair)
NGA-PE-26/27A-Inspecting, Operating, and Maintaining Transmission Valves (Including Lubricating)
NGA-WE-26/27-Inspecting, Operating, and Maintaining Transmission Valves
NGA-PE-26/27B-Inspecting, Operating, and Maintaining Transmission Valves (Excluding Lubricating)
NGA-WE-26/27-Inspecting, Operating, and Maintaining Transmission Valves
NGA-WE-28-Uprating
NGA-WE-28-Uprating (Critical AOC)
NGA-PE-29/30A-Repairing a Distribution Pipe (Repair Clamp)
NGA-WE-29/30A-Repairing a Plastic, Steel, and Cast Iron Distribution Pipe (General Knowledge)
NGA-PE-29/30A-Repairing a Distribution Pipe (Repair Clamp)
NGA-WE-29/30B-Repairing a Plastic and Steel Distribution Pipe (General Knowledge)
NGA-PE-29/30C-Repairing a Steel and Cast Iron Distribution Pipe (Leak Repair Wrap)
NGA-PE-29/30D-Repairing a Cast Iron Bell Joint (Anaerobic Sealant)
NGA-WE-29/30A-Repairing a Plastic, Steel, and Cast Iron Distribution Pipe (General Knowledge)
NGA-PE-29/30E-Repairing a Cast Iron Bell Joint (Encapsulation)
NGA-WE-29/30A-Repairing a Plastic, Steel, and Cast Iron Distribution Pipe (General Knowledge)
NGA-PE-29/30F-Repairing a Cast Iron Bell Joint (Mechanical Clamp)
NGA-WE-29/30A-Repairing a Plastic, Steel, and Cast Iron Distribution Pipe (General Knowledge)
NGA-CERT-29/30G-Internal Anaerobic Sealant (Manufacturer Certification)
NGA-PE-29/30G-Repairing a Cast Iron Bell Joint (Internal Anaerobic Sealant)
NGA-WE-31A-Installation of Pipe: Storage, Handling, and Inspection of Pipe: General Knowledge
NGA-WE-31A-Installation of Pipe: Storage, Handling, and Inspection of Pipe: General Knowledge (Critical AOC)
NGA-PE-31B-Installation of Pipe: Installing Pipe in a Ditch
NGA-WE-31A-Installation of Pipe: Storage, Handling, and Inspection of Pipe: General Knowledge
NGA-PE-31B-Installation of Pipe: Installing Pipe in a Ditch
NGA-WE-31A-Installation of Pipe: Storage, Handling, and Inspection of Pipe: General Knowledge (Critical AOC)
NGA-PE-31C-Installation of Pipe: Installing Pipe by Horizontal Directional Drilling
NGA-WE-31A-Installation of Pipe: Storage, Handling, and Inspection of Pipe: General Knowledge
NGA-WE-31C-Installation of Pipe: Installing Pipe by Horizontal Directional Drilling
NGA-PE-31C-Installation of Pipe: Installing Pipe by Horizontal Directional Drilling
NGA-WE-31A-Installation of Pipe: Storage, Handling, and Inspection of Pipe: General Knowledge (Critical AOC)
NGA-WE-31C-Installation of Pipe: Installing Pipe by Horizontal Directional Drilling
NGA-PE-31D-Installation of Pipe: Installing Pipe by Horizontal Boring (Piercing Tools)
NGA-WE-31A-Installation of Pipe: Storage, Handling, and Inspection of Pipe: General Knowledge
NGA-PE-31D-Installation of Pipe: Installing Pipe by Horizontal Boring (Piercing Tools)
NGA-WE-31A-Installation of Pipe: Storage, Handling, and Inspection of Pipe: General Knowledge (Critical AOC)
NGA-PE-31E-Installation of Pipe: Installing Pipe by Dead Insertion
NGA-WE-31A-Installation of Pipe: Storage, Handling, and Inspection of Pipe: General Knowledge
NGA-PE-31E-Installation of Pipe: Installing Pipe by Dead Insertion
NGA-WE-31A-Installation of Pipe: Storage, Handling, and Inspection of Pipe: General Knowledge (Critical AOC)
NGA-PE-31F.1-Installation of Pipe: Installing Pipe by Vibratory Plow-Planting Pipe Method
NGA-WE-31A-Installation of Pipe: Storage, Handling, and Inspection of Pipe: General Knowledge
NGA-PE-31F.1-Installation of Pipe: Installing Pipe by Vibratory Plow-Planting Pipe Method
NGA-WE-31A-Installation of Pipe: Storage, Handling, and Inspection of Pipe: General Knowledge (Critical AOC)
NGA-PE-31F.2-Installation of Pipe: Installing Pipe by Vibratory Plow-Plowing Pipe Method
NGA-WE-31A-Installation of Pipe: Storage, Handling, and Inspection of Pipe: General Knowledge
NGA-PE-31F.2-Installation of Pipe: Installing Pipe by Vibratory Plow-Plowing Pipe Method
NGA-WE-31A-Installation of Pipe: Storage, Handling, and Inspection of Pipe: General Knowledge (Critical AOC)
NGA-PE-31G-Installation of Pipe: Installing Service Line Point of Entry Seal for Below Grade Foundation/Wall Penetration
NGA-PE-32/33A-Purging a Pipeline Into and Out of Service with Air or Inert Gas
NGA-PE-88-Operation of a Combustible Gas Indicator
NGA-WE-32/33-Purging a Pipeline Into and Out of Service
NGA-PE-33B-Purging a Pipeline Out of Service with Air or Inert Gas Using a Portable Flare
NGA-PE-88-Operation of a Combustible Gas Indicator
NGA-WE-32/33-Purging a Pipeline Into and Out of Service
NGA-PE-34A.1-Performing a Pressure Test with Air and Inert Gas
NGA-WE-34A-Fundamentals for Pressure Testing with Air or Inert Gas
NGA-PE-34A.2-Performing a Pressure Test with Air Only
NGA-WE-34A-Fundamentals for Pressure Testing with Air or Inert Gas
NGA-PE-34B.1-Performing a Pressure Test with Water
NGA-WE-34B.1-Pressure Testing with Water
NGA-PE-34C-Performing a Riser Integrity Test on Interior Jurisdictional Piping
NGA-PE-34D-Inspecting a Pressure Recording Chart or Device for Pressure Testing
NGA-PE-35A.1-Squeeze-Off-Hydraulic
NGA-WE-35A-Stopping Gas Flow (Squeeze-Off Mains and Services)
NGA-PE-35A.2-Squeeze-Off-Manual
NGA-WE-35A-Stopping Gas Flow (Squeeze-Off Mains and Services)
NGA-PE-35A.3-Squeeze-Off Manual (Services Only)
NGA-WE-35A.3-Stopping Gas Flow (Squeeze-Off Services Only)
NGA-PE-35B-Bagging
NGA-WE-35B/C-Stopping Gas Flow (Bagging/Mechanical)
NGA-PE-35C.1-Stopping Gas Flow-Mueller
NGA-WE-35B/C-Stopping Gas Flow (Bagging/Mechanical)
NGA-PE-35C.2-Stopping Gas Flow-Williamson
NGA-WE-35B/C-Stopping Gas Flow (Bagging/Mechanical)
NGA-PE-35C.3-Stopping Gas Flow-Kleiss
NGA-WE-35B/C-Stopping Gas Flow (Bagging/Mechanical)
NGA-PE-35C.4-Stopping Gas Flow-Mueller (Service Tee Stop Only)
NGA-WE-35B/C-Stopping Gas Flow (Bagging/Mechanical)
NGA-PE-35D-Performing a Flow Test During Stopping Operation
NGA-WE-36/47-Abandonment of Facilities
NGA-WE-36/47-Abandonment of Facilities (Critical AOC)
NGA-PE-37A.1-Tapping Plastic Pipe with Specialized Equipment (McElroy)
NGA-WE-37A-Tapping Plastic Pipe with Specialized Equipment
NGA-PE-37A.2-Tapping Plastic Pipe with Specialized Equipment (MT Deason)
NGA-WE-37A-Tapping Plastic Pipe with Specialized Equipment
NGA-PE-37A.3-Tapping Plastic Pipe with Specialized Equipment (NUPI EloFIT)
NGA-WE-37A-Tapping Plastic Pipe with Specialized Equipment
NGA-PE-37A.4-Tapping Plastic Pipe with Specialized Equipment (Supraflow)
NGA-WE-37A-Tapping Plastic Pipe with Specialized Equipment
NGA-PE-37A.5-Tapping Plastic Pipe with Specialized Equipment (GF Central Plastics SurTap)
NGA-WE-37A-Tapping Plastic Pipe with Specialized Equipment
NGA-PE-37B.1-Tapping Low Pressure Cast Iron or Steel Pipe
NGA-WE-37B.1-Tapping Low Pressure Cast Iron or Steel Pipe
NGA-PE-37C.1-Tapping Pipe Other Than Plastic with Specialized Equipment (Mueller)
NGA-WE-37C-Tapping Pipe Other Than Plastic with Specialized Equipment
NGA-PE-37C.2-Tapping Pipe Other Than Plastic with Specialized Equipment (Williamson)
NGA-WE-37C-Tapping Pipe Other Than Plastic with Specialized Equipment
NGA-PE-37C.3-Tapping Pipe Other Than Plastic with Specialized Equipment (ALH)
NGA-WE-37C-Tapping Pipe Other Than Plastic with Specialized Equipment
NGA-PE-37C.4-Tapping Pipe Other Than Plastic with Specialized Equipment (Kleiss)
NGA-WE-37C-Tapping Pipe Other Than Plastic with Specialized Equipment
NGA-WE-38A-Starting Up or Shutting Down Any Part of the Pipeline that Could Cause MAOP to be Exceeded, Including Turning Valves and Monitoring Pressure
NGA-WE-38A-Starting Up or Shutting Down Any Part of the Pipeline that Could Cause MAOP to be Exceeded, Including Turning Valves and Monitoring Pressure (Critical AOC)
NGA-WE-38B-Starting Up or Shutting Down Any Part of the Pipeline that Could Cause MAOP to be Exceeded, Including Turning Valves
NGA-WE-38B-Starting Up or Shutting Down Any Part of the Pipeline that Could Cause MAOP to be Exceeded, Including Turning Valves (Critical AOC)
NGA-PE-39-Removing a Service Tee/Fitting from Steel/Cast Iron Pipe
NGA-WE-39A-Removing a Service Tee or Fitting from Steel and Cast Iron Pipe
NGA-PE-39-Removing a Service Tee/Fitting from Steel/Cast Iron Pipe
NGA-WE-39B-Removing a Service Tee or Fitting from Steel Pipe
NGA-PE-40A-Installing/Replacing Tracer Wire and Marker Balls
NGA-PE-40B-Installing/Replacing Tracer Wire Only
NGA-PE-41/42A-Inspecting, Operating, and Maintaining Distribution Valves (Including Lubrication)
NGA-PE-88-Operation of a Combustible Gas Indicator
NGA-WE-41/42-Inspecting, Operating, and Maintaining Distribution Valves
NGA-PE-41/42B-Inspecting, Operating, and Maintaining Distribution Valves (Excluding Lubrication)
NGA-PE-88-Operation of a Combustible Gas Indicator
NGA-WE-41/42-Inspecting, Operating, and Maintaining Distribution Valves
NGA-PE-41/42C-Operating Distribution Valves
NGA-WE-44/54-Welding on a Pipeline
NGA-WE-44/54-Welding on a Pipeline (Critical AOC)
NGA-PE-45-Customer Turn-on/Relight
NGA-PE-48-Installation of Tubing and Fittings
NGA-PE-49A-Mechanical Joining of Pipe Other than Plastic (Threaded Fittings)
NGA-WE-49-Mechanical Joining of Pipe Other than Plastic
NGA-PE-49B-Mechanical Joining of Pipe Other than Plastic (Flanged)
NGA-WE-49-Mechanical Joining of Pipe Other than Plastic
NGA-PE-49H.1-Mechanical Joining of Pipe Other Than Plastic-Nut Follower (Insulated and Non-Insulated)
NGA-WE-49-Mechanical Joining of Pipe Other than Plastic
NGA-PE-49H.2-Mechanical Joining of Pipe Other Than Plastic-Nut Follower (Non-Insulated Only)
NGA-WE-49-Mechanical Joining of Pipe Other than Plastic
NGA-PE-49I.1-Mechanical Joining of Pipe Other Than Plastic-Bolted (Insulated and Non-Insulated)
NGA-WE-49-Mechanical Joining of Pipe Other than Plastic
NGA-PE-49I.2-Mechanical Joining of Pipe Other Than Plastic-Bolted (Non-Insulated Only)
NGA-WE-49-Mechanical Joining of Pipe Other than Plastic
NGA-PE-49J.1-Mechanical Joining of Pipe Other Than Plastic-Compression (Saddle)
NGA-WE-49-Mechanical Joining of Pipe Other than Plastic
NGA-PE-49J.5-Mechanical Joining of Pipe Other Than Plastic-Compression (Dresser POSIHOLD)
NGA-WE-49-Mechanical Joining of Pipe Other than Plastic
NGA-PE-50/51/52C.1-Saddle Electrofusion
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-WE-50/51/52C-Electrofusion
NGA-PE-50/51/52F-Saddle Fusion
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-WE-50/51/52F-Saddle Fusion
NGA-PE-50/52C.2-Coupling Electrofusion
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-WE-50/51/52C-Electrofusion
NGA-PE-50/52D.11-Hydraulic Fusion Including 14" and Larger Pipe (Power-Driven)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-WE-50/52D-Hydraulic Butt Fusion
NGA-WE-50/52E-Butt Fusion Fundamentals
NGA-PE-50/52D.12-Hydraulic Fusion Excluding 14" and Larger Pipe (Power-Driven)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-WE-50/52D-Hydraulic Butt Fusion
NGA-WE-50/52E-Butt Fusion Fundamentals
NGA-PE-50/52D.2-Hydraulic Fusion (Manual Pump)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-WE-50/52D-Hydraulic Butt Fusion
NGA-WE-50/52E-Butt Fusion Fundamentals
NGA-PE-50/52E.1-Manual Butt Fusion (Coil-to-Coil)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-WE-50/52E-Butt Fusion Fundamentals
NGA-PE-50/52E.2-Manual Butt Fusion (Coil-to-Stick)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-WE-50/52E-Butt Fusion Fundamentals
NGA-PE-50/52G-Socket Fusion
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-WE-50/52G-Socket Fusion
NGA-PE-50B.1-Joining Plastic Pipe-Mechanical-Stab Fitting (Permasert, Servi-Sert)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-PE-50B.2-Joining Plastic Pipe-Mechanical-Stab Fitting (Permasert 2.0)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-PE-50B.3-Joining Plastic Pipe-Mechanical-Stab Fitting (Con-Stab)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-PE-50H-Joining Plastic Pipe-Nut Follower
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-PE-50I-Joining Plastic Pipe-Bolted Fitting
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-PE-50J.1-Joining Plastic Pipe-Compression (Lycofit - Manual)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-PE-50J.2-Joining Plastic Pipe-Compression (Lycofit - Hydraulic)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-PE-50J.3-Joining Plastic Pipe-Compression (Metfit - Manual)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-PE-50J.4-Joining Plastic Pipe-Compression (Metfit - Hydraulic)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-PE-50J.5-Joining Plastic Pipe-Compression (Dresser POSIHOLD)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-PE-50K.1-Joining Plastic Pipe-Compression (Service Head Adapter - Separate Stiffener)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-PE-50K.2-Joining Plastic Pipe-Compression (Service Head Adapter - Integral Stiffener)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-PE-51D/E/F-Tapping a Self Tapping Tee (Plastic and Steel)
NGA-WE-51D-Tapping Using Self Tapping Tees (Plastic and Steel)
NGA-PE-51D/E/F-Tapping a Self Tapping Tee (Plastic and Steel)
NGA-WE-51E-Tapping Using Self-Tapping Tees (Plastic Only)
NGA-PE-51D/E/F-Tapping a Self Tapping Tee (Plastic and Steel)
NGA-WE-51F-Tapping Using Self-Tapping Tees (Steel Only)
NGA-PE-51J.1-Joining Plastic Pipe-Compression (Permalock Mechanical Tapping Tee)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-PE-51J.2-Joining Plastic Pipe-Compression (Lycofit Mechanical Tapping Tee)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-PE-51J.3-Joining Plastic Pipe-Compression (ConStab Mechanical Tapping Tee)
NGA-WE-50/51/52A-Joining Plastic Pipe: General Knowledge
NGA-WE-52H.B-Inspecting Plastic Pipe Fusion Joint-Butt Fusion (Field inspector Only-1 Year-Critical AOC)
NGA-WE-52H.B-Inspecting Plastic Pipe Fusion Joint-Butt Fusion (Field inspector Only-3 Year)
NGA-WE-52H.D-Inspecting Plastic Pipe Fusion Joint-Saddle Fusion (Field inspector Only-1 Year-Critical AOC)
NGA-WE-52H.D-Inspecting Plastic Pipe Fusion Joint-Saddle Fusion (Field inspector Only-3 Year)
NGA-WE-52H.E-Inspecting Plastic Pipe Fusion Joint-Electrofusion (Field inspector Only-1 Year-Critical AOC)
NGA-WE-52H.E-Inspecting Plastic Pipe Fusion Joint-Electrofusion (Field inspector Only-3 Year)
NGA-WE-52H.F-Inspecting Plastic Pipe Fusion Joint-Socket Fusion (Field inspector Only-1 Year-Critical AOC)
NGA-WE-52H.F-Inspecting Plastic Pipe Fusion Joint-Socket Fusion (Field inspector Only-3 Year)
NGA-WE-52H.V-Inspecting Plastic Pipe Fusion Joint (Visual Inspection Only-Vintage Fusions-1 Year-Critical AOC)
NGA-WE-52H.V-Inspecting Plastic Pipe Fusion Joint (Visual Inspection Only-Vintage Fusions-3 Year)
NGA-CERT-53-Non-Destructive Testing of Welds (NDT Certification)
NGA-PE-55A-Maintaining a Pipeline Compressor Station
NGA-PE-55B-Maintaining a Pipeline Compressor Station (ESD Only)
NGA-PE-56-Operating a Pipeline Compressor Station
NGA-PE-57-Repairing a Compressor
NGA-PE-58-Maintaining Gas Detection Systems and Alarms in Compressor Stations
NGA-PE-59A-Controlling and Monitoring Gas Pressures and Flows (Remotely)
NGA-WE-59-Controlling and Monitoring Gas Pressures and Flows
NGA-PE-59B-Controlling and Monitoring Gas Pressures and Flows (Locally)
NGA-WE-59-Controlling and Monitoring Gas Pressures and Flows
NGA-PE-60A-Operating Remote Control Valves (Remotely)
NGA-PE-60B-Operating Remote Control Valves (Locally)
NGA-PE-61A-Inspecting a Mechanical Pressure Recording Chart, Including Verification of Accuracy
NGA-WE-61A-Inspecting a Mechanical Pressure Recording Chart, Including Verification of Accuracy
NGA-PE-61B-Inspecting a Mechanical Pressure Recording Chart, Excluding Verification of Accuracy
NGA-WE-61B-Inspecting a Mechanical Pressure Recording Chart, Excluding Verification of Accuracy
NGA-PE-62A-Inspect a Pressure Regulator Station, Including Heating Equipment
NGA-WE-62A-Inspect a Pressure Regulation Station, Including Heating Equipment
NGA-PE-62B-Inspect a Pressure Regulator Station, Excluding Heating Equipment
NGA-WE-62B-Inspect a Pressure Regulation Station, Excluding Heating Equipment
NGA-PE-63-Inspect and Test Pressure Regulators and Overpressure Protection at a Pressure Regulator Station
NGA-WE-63-Inspect and Test Pressure Regulators and Overpressure Protection at a Pressure Regulator Station
NGA-PE-64-Inspecting Telemetering Equipment
NGA-WE-64-Inspecting Telemetering Equipment
NGA-PE-65-Bypassing a Regulator
NGA-WE-65-Bypassing a Regulator
NGA-PE-66-Inspecting an Electronic Pressure Recording Device
NGA-PE-67-Inspecting a Pressure Regulator Vault
NGA-PE-68A-Operating an Injection Type Odorizer
NGA-WE-68-Operating Odorization Equipment
NGA-PE-68B-Operating an Absorption Type Odorizer (Bypass, Wick)
NGA-WE-68-Operating Odorization Equipment
NGA-PE-68C-Operating an Odorizer-Transferring Odorant
NGA-WE-68-Operating Odorization Equipment
NGA-PE-69-Monitoring Natural Gas Odorization Levels
NGA-PE-69B-Sniff Test
NGA-WE-70A-Basic Abnormal Operating Conditions
NGA-WE-70B-Properties of Natural Gas
NGA-WE-70A-Basic Abnormal Operating Conditions (Critical AOC)
NGA-WE-70B-Properties of Natural Gas
NGA-WE-70P-Propane Air Plant Abnormal Operating Conditions and Properties of Natural Gas and Propane
NGA-WE-71-Operator Excavating and Backfilling in the Vicinity of a Pipeline
NGA-WE-71-Operator Excavating and Backfilling in the Vicinity of a Pipeline (Critical AOC)
NGA-PE-72A.1-Installing and Turning Off Meters (All Sizes) Including Regulators
NGA-WE-72A.1-Installing and Turning Off Meters (All Sizes) Including Regulators
NGA-PE-72A.2-Installing and Turning Off Meters (All Sizes) Excluding Regulators
NGA-WE-72A.2-Installing and Turning Off Meters (All Sizes) Excluding Regulators
NGA-PE-72B.1-Installing and Turning Off Meters (Residential and Small Commercial) Including Regulators
NGA-WE-72B.1-Installing and Turning Off Meters (Residential and Small Commercial) Including Regulators
NGA-PE-72B.2-Installing and Turning Off Meters (Residential and Small Commercial) Excluding Regulators
NGA-WE-72B.2-Installing and Turning Off Meters (Residential and Small Commercial) Excluding Regulators
NGA-PE-72C-Turning Off Meters (Only)
NGA-PE-72D-Inspecting, Testing, and Adjusting Service Regulators
NGA-PE-73-Inspecting and Maintaining Air Compressors at LP-Air Plants
NGA-PE-74-Inspecting and Maintaining Instrument Air Dryers at LP-Air Plants
NGA-PE-75-Inspecting and Maintaining Emergency Shutoff Systems at LP-Air Plants
NGA-PE-76-Maintaining Fire Protection Systems at LP-Air Plants
NGA-PE-77-Inspecting and Maintaining Storage Tanks, Piping, Valves and Fittings at LP-Air Plants
NGA-PE-78-Inspecting and Maintaining Vapor Compressors at LP-Air Plants
NGA-PE-79-Inspecting, Operating and Maintaining Vapor Detection Systems at LP-Air Plants
NGA-PE-80-Inspecting and Maintaining Propane Vaporizers at LP-Air Plants
NGA-PE-81-Loading, Unloading and Transferring Liquid Propane at LP-Air Plants
NGA-PE-82-Inspecting and Maintaining Auxillary Power Sources at LP-Air Plants
NGA-PE-83-Operating a Propane Air Plant
NGA-PE-84A-Bending Steel Pipe (Manual)
NGA-WE-84-Bending Steel Pipe: General Knowledge
NGA-PE-84B-Bending Steel Pipe (Hydraulic)
NGA-WE-84-Bending Steel Pipe: General Knowledge
NGA-WE-85A-Meter Assembly Abnormal Operating Conditions
NGA-WE-85B-Meter Assembly Fundamentals and Substandard Conditions
NGA-WE-85A-Meter Assembly Abnormal Operating Conditions (Critical AOC)
NGA-WE-85B-Meter Assembly Fundamentals and Substandard Conditions
NGA-PE-86- Interior Jurisdictional Piping Safety Inspections
NGA-WE-86-Interior Jurisdictional Piping Safety Inspections
NGA-WE-86/87-Jurisdictional Piping: General Knowledge
NGA-PE-86/87-PV-Interior Jurisdictional Piping Safety Inspections (Plumbers Version)
NGA-WE-86-PV-Interior Jurisdictional Piping Safety Inspections (Plumbers Version)
NGA-WE-86/87-PV-Jurisdictional Piping: General Knowledge (Plumbers Version)
NGA-CERT-87-Journeyman Registration/Certification from LMP
NGA-PE-86/87-PV-Interior Jurisdictional Piping Safety Inspections (Plumbers Version)
NGA-PE-87A-PV-Interior Jurisdictional Piping Construction and Maintenance Activities, Including Pressure Testing of Piping (Plumbers Version)
NGA-WE-86/87-PV-Jurisdictional Piping: General Knowledge (Plumbers Version)
NGA-WE-87-PV-Interior Jurisdictional Piping Construction and Maintenance Activities (Plumbers Version)
NGA-CERT-87-Journeyman Registration/Certification from LMP
NGA-PE-86/87-PV-Interior Jurisdictional Piping Safety Inspections (Plumbers Version)
NGA-WE-86/87-PV-Jurisdictional Piping: General Knowledge (Plumbers Version)
NGA-WE-87-PV-Interior Jurisdictional Piping Construction and Maintenance Activities (Plumbers Version)
NGA-PE-88-Operation of a Combustible Gas Indicator
NGA-PE-89A-Bypassing a Meter (Bypass Meter Bar)
NGA-PE-89B-Bypassing a Meter (Solid or Temporary Bypass)
NGA-PE-89C-Bypassing a Meter (CNG Supply)
NGA-PE-90-Pigging Debris or Water from a Main or Service
NGA-PE-91-Operating a Pig Launcher and Receiver
NGA-PE-92A-Conducting ECDA Field Inspections (ACCA)
NGA-PE-92B-Conducting ECDA Field Inspections (ACVG)
NGA-PE-92C-Conducting ECDA Field Inspections (DCVG)
NGA-PE-93-Performing Axial or Window Cuts on a Casing Pipe Containing an Energized Pipeline
NGA-WE-(H)-EXAM Soil Compaction - 14682
NFG-2019 Stopping/Bagging Requal (Attendance)
NFG-WE-001-Inspecting for Shorted Casings
NFG-WE-002A-Measuring Pipe-to-Soil Potential Mains
NFG-WE-002B-Measure Pipe-to-Soil Potential Services
NFG-WE-002C-Diagnosis Pipe-to-Soil Potential
NFG-WE-003-Conduct a Soil Resistivity Survey
NFG-WE-004-Conducting Interference Testing
NFG-WE-005-Electrically Checking for Proper Performance Reverse Current Switches, Diodes, and Interference Bonds
NFG-WE-006-Inspecting for Atmospheric Corrosion
NFG-WE-007-Ensure Operation of a Rectifier
NFG-WE-008-Visually Inspecting for Internal Corrosion
NFG-PE-009A-Remove Coupons/Sample Gas or Liquids for Analysis and Evaluation of Internal Corrosion – (Remove Coupons)
NFG-PE-009B-Remove Coupons/Sample Gas or Liquids for Analysis and Evaluation of Internal Corrosion – (Sampling Gas or Liquids)
NFG-WE-01-INSPTFD-NFG Inspector or Distribution Contractor Foreman
NFG-PE-01-REL-FC-RELIGHT FIELD CERTIFIED- Required to do unassisted relights
NFG-PE-01-REL-CT-RELIGHT EVALUATION
NFG 01 Relights EXAM - 01-REL-CT: RELIGHTS
NFG-WE-01-INSPTSP-NFG Supply Corp Inspector or Contractor for Supply Jobs
NFG-WE-01-INSPTWI- NFG Welding Inspector
NFG-WE-01-Task200-Supply Annual O M Review
NFG-WE-010-Clear a Shorted Casing
NFG-WE-011/012/017H-SOE: Pipe Coatings (Paint)
NFG-WE-011A-Applying Pipe Coating in the Field – (Includes Trenton Wrap and Epoxy Patch Stick)
NFG-WE-011B-Applying Pipe Coating in the Field – (Includes 2 Part Epoxy and Shrink Sleeves)
NFG-WE-012-Cleaning and Either Coating or Jacketing Pipe for Atmospheric Corrosion – (Includes Paint and Trenton)
NFG-WE-013-Installing/Replacing a Rectifier on a Pipeline
NFG-WE-014A-Installing/Replacing an Anode on a Pipeline
NFG-WE-014B-Install/Replace Impressed Current Anodes on a Pipeline
NFG-WE-015A-Installing/Replacing and Testing Electrical Isolation Couplings on a Pipeline – (Includes Installing and Replacing)
NFG-WE-015B-Installing/Replacing and Testing Electrical Isolation Couplings on a Pipeline – (Includes Testing and Troubleshooting)
NFG-WE-016A-Install/Replace a Corrosion Test Station on a Pipeline – (Includes Running the Wires to the Test Station)
NFG-WE-016B-Install/Replace a Corrosion Test Station on a Pipeline- (Includes Wiring the Test Head)
NFG-WE-017-Repair Coating on a Steel Pipelines
NFG-WE-018A-Conducting Gas Leakage Surveys (FI Use)
NFG-WE-18A-SOE: Conducting Gas Leakage Surveys (Mobile and Walking)
NFG-WE-018B-Conducting Gas Leakage Surveys – (Inside Portion When Meter Inside)
NFG-WE-018B/19B-Patrolling/Leakage Surveys - (Inside Portion When Meter Inside)
NFG-WE-019A-Patrolling and Inspecting Pipelines
NFG -WE-019A-SOE-Patrolling-Inspecting Right of Ways, Pipeline Markers and Exposed Above Ground Mains
NFG-WE-019B-Patrolling and Inspecting Pipelines – (Inside Portion When Meter Inside)
NFG-PE-020A-Investigating leak/Odor Complaints - Inside
NFG-WE-020A-SOE: Investigating Leak or Odor Complaints (Inside and Outside)
NFG-PE-020B-Investigating leak/Odor Complaints - Outside
NFG-WE-020D-SOE: Leak Classification
NFG-WE-021-Line Locating and Mark Out
NFG-WE-021-SOE: Line Locating and Mark Out
NFG-PE-021FC-Line Locating and Mark Out – Field Certification
NFG-WE-021SP-Line Locating and Mark Out – Supply Line Only
NFG-WE-022-Inspection of 3rd Party Excavations for Damage Prevention/Cast Iron Encroachment
NFG-WE-022B-SOE: Inspecting of 3rd Party Excavations for Damage Prevention
NFG-WE-023-Inspecting the Condition of Exposed Metallic Pipe or Pipe Coating
NFG-WE-024-Inspect Pipe for Damage
NFG-WE-025-Repair Transmission Line Leaks
NFG-WE-026A-Repair and Maintain Transmission Line Valves – MRC, Supply
NFG-WE-026B-Repair and Maintain Transmission Line Valve Operator – Electricians and Panel Techs
NFG-WE-027-Lubricate Transmission Line Valves
NFG-WE-028-Uprating – Engineering Task
NFG-WE-029A-Repair Distribution Line Leaks – Contractors Incidental leaks
NFG-WE-029B-Repair Distribution Line leaks – Standard Methods
NFG-WE-029C-Repair Distribution Line Leaks - Encapsulation
NFG-WE-030A-Repair a Non-Leaking Pipe – Standard Methods
NFG-WE-030B-Repair a Non-Leaking Pipe – Clock Spring
NFG-WE-030C-Repair a Non-Leaking Pipe – Perma Wrap
NFG-WE-030D-Repair a Non-leaking Pipe – Armor Plate
NFG-WE-031A-Installation of Pipe – Storage, Handling
NFG-WE-031B-Installation of Pipe – In Open Ditch
NFG-WE-031C-Installation of Pipe – Horizontal Directional Drilling
NFG-WE-031D-Installation of Pipe – Horizontal Boring (Piercing Tools)
NFG-WE-031E-Installation of Pipe – Vibratory Plowing
NFG-WE-031F-Installation of Pipe – Dead Insertion
NFG-WE-031G-Installation of Pipe – Live Insertion
NFG-WE-032A-Purging a Pipeline into Service – Standard Methods
NFG-WE-032B-Purging a Pipeline into Service - Ranerex
NFG-WE-033A-Purging a Pipeline Out of Service – Standard Methods
NFG-WE-033B-Purging a Pipeline Out of Service – Flaring Trailer
NFG-WE-034A-Performing Pressure Test on a Pipeline – Standard Methods
NFG-WE-034B-Performing Pressure Test on a Pipeline - Hydrotest
NFG-PE-035A-Stopping Gas Flow - Bagging
NFG-PE-035B-Stopping Gas Flow - Squeezing
NFG-PE-035D-Stopping Gas Low – Williamson 2”- 4”
NFG-PE-035E-Stopping Gas Flow – Williamson 6”- 8”
NFG-PE-035F-Stopping Gas Flow – Mueller up to 4”
NFG-PE-035G-Stopping Gas Flow – Mueller 6” or Greater, Williamson 8” or Greater
NFG-WE-036-Abandonment or Deactivation of Facilities
NFG-PE-037A-Tapping Pipelines Under Pressure – Steve Vick
NFG-PE-037B-Tapping Pipelines Under Pressure – Footage LP tool
NFG-PE-037C-Tapping Pipelines Under Pressure – Williamson 2”- 4”
NFG-PE-037D-Tapping Pipelines Under Pressure – Williamson 6”- 8”
NFG-PE-037E-Tapping Pipelines Under Pressure – Mueller up to 4”
NFG-PE-037F-Tapping Pipelines Under Pressure – Mueller 6” or Greater, Williamson 8” or Greater
NFG-WE-038-Starting Up or Shutting Down Any Part of a Pipeline That Could Cause the MAOP to be Exceeded
NFG-WE-039-Remove Service Tee or Fitting From Steel or Cast Iron Mains
NFG-WE-040-Install/Replace Tracer Wire
NFG-WE-040-SOE: Install/Replace Tracer Wire
NFG-WE-041-Inspect and Operate Valves
NFG-WE-041/042-SOE: Inspecting, Lubricating, Repairing and Operating Distribution Valves
NFG-WE-042-Repair and Maintain Distribution Line Valves
NFG-WE-043-Lubricate Distribution Line Valves
NFG-PE-044-Repair Inline Welds
NFG-WE-045-Restore Service
NFG-WE-047-Abandon a Gas Service Line
NFG-PE-048-Tubing and Fitting Installation: Instrument, Control, and Sampling
NFG-WE-48-Tubing and Fitting Installation EXAM
NFG-WE-049-Mechanical Joining of Pipe Other Than Plastic
NFG-PE-050A-Joining Plastic Pipe – Stab fitting
NFG-WE-050A-Joining Plastic Pipe -Stab Fitting
NFG-PE-050B-Joining Plastic Pipe – All Other Mechanical Methods
NFG-WE-050B-Joining Plastic Pipe - All Other Mechanical Methods
NFG-PE-050C-Joining Plastic Pipe – Butt Fuse – Manual Machine
NFG-WE-050C-Joining Plastic Pipe - Butt Fuse - Manual Machine
NFG-PE-050D-Joining Plastic Pipe – Butt Fuse – Hydraulic Machine
NFG-WE-050D-Joining Plastic Pipe - Butt Fuse - Hydraulic Machine
NFG-PE-050E-Joining Plastic Pipe – Electrofusion
NFG-WE-050E-Joining Plastic Pipe - Electrofusion
NFG-PE-051-Install Self Tapping Tee
NFG-WE-051-Install Self Tapping Tee
NFG-WE-052-Inspect Plastic Pipe Fusion Joint
NFG-WE-053-Non-Destructive Testing of Welds
NFG-PE-054-Welding on a Pipeline
NFG-WE-059-Controlling and Monitoring Gas Pressures and Flows
NFG-WE-060-Operation of Remote Control Valves
NFG-WE-061-Inspect Recording Gauge
NFG-PE-062A-Inspect and Test Pressure Regulator Station – MRC Tech
NFG-PE-063A-Install and Test Overpressure Protection – MRC Tech
NFG-PE-063B-Install and Test 2” Overpressure Protection - Non-MRC Tech
NFG-063B: EXAM 063B-Install and Test 2” Overpressure Protection - Non-MRC Tech
NFG-PE-063C-Inspect and Test B-38 Service Regulator
NFG-063C: EXAM 063C-Inspect and Test B-38 Service Regulator
NFG-PE-064A-Inspect Telemetering Equipment at a Pressure Limiting or Regulating Station – MRC Tech
NFG-PE-064B-Inspect Telemetering Equipment at a Pressure Limiting or Regulating Station – Panel Tech & Electricians
NFG-WE-065-Bypass a Regulator
NFG-WE-066-Field Interpretation of Pressure Recording Charts
NFG-WE-067-Inspecting a Pressure Regulator Vault
NFG-WE-068-Operating an Odorizer
NFG-WE-069-Monitoring Natural Gas Levels
NFG-PE-069A-Monitoring Natural Gas Levels - MRC Tech
NFG-WE-069B-Monitor Natural Gas Odorization Levels – Customer Service
NFG-WE-06A-SOE: Inspecting for Atmospheric Corrosion, Including Evaluation and Remediation
NFG-WE-070-Properties of Natural Gas and Abnormal Operating
NFG-WE-070-SOE: Properties of Natural Gas and AOC's
NFG-WE-071-Operator Excavation and Backfilling in the Vicinity of a Pipeline
NFG-WE-071-SOE: Excavation and Backfill
NFG-WE-072-Installation of Customer Meters and Regulators
NFG-WE-084-Bending of Steel Pipe
NFG-WE-085-SOE: Meter Assembly AOC's
NFG-RS128 - Surveys of NORM for Pigging Operations and Filter Maintenance
Respirator Program, Use & Inspection
Respirator Medical Questionnaire Review and/or Physical (other than N95)
MSA Full Face Cartridge and/or Supplied Air
MSA 1/2 Face Cartridge
Scott Full Face Supplied Air
Welder Hood Full Face Supplied Air
Respirator Program Use & Inspection N95
N95 Fit Test
Respirator Medical Questionnaire Review and/or Physical (N95)
NFG-WE-RS418 Silica Awareness Training
NFG-WE-RS430 - Scaffolding
Fall Protection Equipment Inspection - Semi-Annual
8HR annual refresher-WE-Expires 12 Months
40HR Initial Training - WE- Expires 360 Months
24HR Initial Training - WE- Expires 360 Months
8HR annual refresher-WE-Expires 12 Months
NFG-WE-52 Inspection of Vintage Pipe Joints
NFG-WE-800-Operating Procedure Manual Annual Update
NFG-WE-801-Part 1 - O & M Onboarding
NFG-WE-802-Part 2 - O & M Onboarding
NFG-WE-803-Part 3 - O & M Onboarding
NFG-WE-804-Part 4 - O & M Onboarding
NFG-WE-805-Part 5 - O & M Onboarding
NFG-WE-806-Part 6 - O & M Onboarding
NFG-WE-819 2019 Requal O & M Updates EXAM
NFG-WE-820-2020 Requal O & M Updates EXAM
NFG-WE-821-2021 Requal O & M Updates EXAM
NFG-Pipe to Soil Training
NFG-Transmission Repair Training
NFG-WE-DP-NY-SOE: State Damage Prevention Regulations
NFG-WE-ElectSafety-Electric Safety
NFG-PE-FireSchool-Fire School
NFG-WE-RE114-Hazardous Materials Spill Awareness
NFG-PE-RE204.1-24 HOUR HAZWOPER (8 Hour Annual Refresher, given no lapse in initial training)
NFG-PE-RE204.2-40 HOUR HAZWOPER (8 Hour Annual Refresher, given no lapse in initial training)
NFG-PE-RE204.3-8 HOUR HAZWOPER REFRESHER
NFG-WE-RE300-PCB PROCEDURE
NFG- RE419: NY-NY Annual Coal Tar Variance- 2 Hour Refresher
NFG-WE-RE419-NY Annual Coal Tar Variance
NFG-WE-RE421-Hazardous Material Transport Function
NFG-WE-RE425-PCB Wipe Test
NFG-WE-RE426-PCB Procedures for Sampling/Testing Storage Well Tubing
NFG-WE-RM107-Safety Coordinator
NFG-PE-RM250-Respirator/DOT Physical (replaced with RS302)
NFG-PE-RM305A- SCOTT - RESPIRATOR FIT TEST (1 YEAR)
NFG-PE-RM305B- MSA - RESPIRATOR FIT TEST (1 YEAR)
NFG-PE-RM305C- HALF MASK - RESPIRATOR FIT TEST (1 YEAR)
NFG-WE-RM417-PA Coal Tar Pipe Removal
NFG-WE-RM422-Electricity Basics
NFG-WE-RM501-CONTRACTOR - Excavation And Trenching Safety
NFG-RS100.1: Safety Orientation for Customer Service and Meter Reading
NFG-RS100.2: Safety Orientation for Construction, Supervision, and Supply
NFG-WE-RS102-Hazardous Chemical Communication
NFG-PE-RS103.1-Forklift
NFG-PE-RS103.2 - Skidsteer- Attendance Only
NFG-PE-RS103.3 -Picker- Attendance Only
NFG-PE-RS103.4-Petibone- Attendance Only
NFG-PE-RS103.5-Reach Truck- Attendance Only
NFG-WE-RS105-Emergency First Aid and CPR
NFG-WE-RS116-Hazardous Energy Control/Lockout/Tagout
NFG-PE-RS117-Material Lifting Device Use
NFG-WE-RS118-Competent Person Rigging Inspection
NFG-PE-RS120.1-Hearing Conservation Annual Training
NFG-PE-RS120.2 Annual Audiogram
NFG-PE-RS121-Hearing Conservation Annual Training Program
NFG-WE-RS122-Emergency Response and Fire Prevention Plan
NFG-WE-RS124-Portable Fire Extinguishers
NFG-WE-RS125-Confined Space Training
NFG-PE-RS129 - Wreckmaster Vehicle Recovery Training
NFG-WE-RS129 - Wreckmaster Vehicle Recovery Training
NFG-PE-RS130 - Basic Winch Training/Vehicle Recovery
NFG-PE-RS302-DOT PHYSICAL
410.1 Initial Training-600 month expiration-Attendance only
410.2 Advanced Online Training-600 month expiration-Attendance only
410.3 Advanced Live Training (Bully Ray) -600 month expiration-Attendance only
NFG-PE-RS413 Manual Crane Evaluation
NFG-PE-RS414 Crane Certification (w/eval.)
NFG-WE-RS414 Crane Certification (w/eval.)
NFG-Asbestos Awareness and Basic Training
NFG-WE-RS417-NY Intro to Coal Tar (NY -New Hires/Transfers - Prerequisite for RE419)
ATV Hands on Training
Operator Assessment by SME - ATV w/ Rubber Tires less than or equal to 14 degrees
Annual ATV/UTV Safety Assessment - Annual refresher
ATV/UTV Refresher Training
ATV Hands on Training
Operator Assessment by SME - ATV w/ Tracks less than or equal to 20 degrees
Annual ATV/UTV Safety Assessment - Annual refresher
ATV/UTV Refresher Training
UTV Hands on Training
Operator Assessment by SME - UTV w/ Tracks less than or equal to 20 degrees
Annual ATV/UTV Safety Assessment - Annual refresher
ATV/UTV Refresher Training
Operator Assessment by SME - UTV w/ Tracks less than or equal to 35 degrees
UTV Hands on Training
Annual ATV/UTV Safety Assessment - Annual refresher
ATV/UTV Refresher Training
NFG-WE-RS427-Post Trip/Pre Trip Inspection
NFG-WE-RS428-Hydrogen Sulfide BASIC Safety Training
NFG-WE-RS431 - Fall Protection
NFG-WE-RS432 - Ariel Work Platform
NFG-WE-RS435-Black Powder Training-60 month expiration-Attendance only
NFG-WE-RS514-Ergonomics-60 month expiration-Attendance only
NFG-WE-RT101-Excavation And Trenching Safety
NFG-WE-RT111-Oxygen/Fuel Gas Torch Operation
NFG-WE-RT112-Work Area Protection
NFG-WE-Z_RE113-Personnel Protective Equipment
NFG-PE- Z_RM119-Scott Airpack (SCBAs) (Replaced with Z_RS109)
NFG-WE-Z_RS109-Respirator Program, Use & Inspection
NFG-PE-062B-Inspect and test pressure service regulator – Non-MRC Tech
NFG-WE-822: 822-2022 Requal O&M Updates EXAM
NFG-WE-823-2023 Requal O & M Updates EXAM
NFG-WE-824-2024 Requal O & M Updates EXAM
NFG-WE-825-2025 Requal O & M Updates EXAM
NFG-WE-826-2025 Requal O & M Updates EXAM
NFG-WE-91-In-Service Transmission Pipeline Pigging
NFG-WE-AP1-1169: Pipeline Construction Inspector
NFG-Datalogger Course
NFG-Corrosion Training
NFG-Datalogger Training
NFG-O & M Onboard Training
NFG-PE-RM429A - Hydrogen Sulfide ADVANCED - Drager Pump
NFG-WE-RM429A - Hydrogen Sulfide ADVANCED - Drager Pump
NFG-PE-RM429B - Hydrogen Sulfide - Litmus Paper Only - 12 Month
NFG-WE-RM429B - Hydrogen Sulfide - Litmus Paper Only - 12 Month
NFG-SPCC & General Spill Awareness Training
NFG-WE-Datalogger Exam
NFG-2011 Plastic Requal (Attendance)
NFG-2012 Plastic Requal (Attendance)
NFG-2013 Plastic Requal (Attendance)
NFG-2014 Plastic Requal (Attendance)
NFG-2015 Plastic Requal (Attendance)
NFG-2016 Line Locating Requal (Attendance)
NFG-2016 Plastic Requal (Attendance)
NFG-2016 Relight Requal
NFG-2016 Stopping/Bagging Requal (Attendance)
NFG-2017 F.I. Requal (Attendance)
NFG-2017 MRC Requal (Attendance)
NFG-2017 Plastic Requal (Attendance)
NFG-2017 Relight Requal
NFG-2018 Line Locating Requal (Attendance)
NFG-2018 Plastic Requal (Attendance)
NFG-2018 Relight Requal
NFG-2019 Plastic Requal (Attendance)
NFG-2019 Relight Requal
NFG-2020 Compressor Requal (Attendance)
NFG-2020 Electronic/Automation Requal (Attendance)
NFG-2020 F.I./Leak Survey Requal (Attendance)
NFG-2020 Measurement/Regulation Requal (Attendance)
NFG-2020 Odorant Requal (Attendance)
NFG-2020 Plastic Requal (Attendance)
NFG-2020 Relight Requal
NFG-2020 Supply Inspector School (Attendance)
NFG-2021 Line Locating Requal (Attendance)
NFG-2021 Odorant Requal (Attendance)
NFG-2021 Plastic Requal (Attendance)
NFG-2021 Relight Requal (Attendance)
NFG-2021 Supply Inspector School (Attendance)
NFG-2022 Odorant Requal (Attendance)
NFG-2022 Plastic Requal (Attendance)
NFG-2022 Relight Requal (Attendance)
NFG-2022 Stopping/Bagging Requal (Attendance)
NFG-2022 Supply Inspector School (Attendance)
NFG – 2023 Electronic/Automation Requal (Attendance)
NFG – 2023 F.I./Leak Survey Requal
NFG – 2023 Measurement/Regulation Requal (Attendance)
NFG – 2023 Odorant Requal (Attendance)
NFG – 2023 Plastic Requal (Attendance)
NFG – 2023 Relight Requal (Attendance)
NFG – 2023 Supply Comp./Field Requal (Attendance)
NFG – 2023 Supply Inspector School (Attendance)
NFG - 2024 Line Locating Requal (Attendance)
NFG - 2024 Odorant Requal (Attendance)
NFG - 2024 Plastic Requal (Attendance)
NFG - 2024 Relight Requal (Attendance)
NFG - 2024 Supply Inspector School (Attendance)
NFG – 2025 Odorant Requal (Attendance)
NFG - 2025 Producer Requal (Attendance)
NFG - 2025 PVM Requal (Attendance)
NFG-PE-CT55.1 Maintain a Pipeline Compressor Station
NFG-PE-CT55.2 ESD Electronic & Pneumatic Systems
NFG-PE-CT55.2AET ESD Electronic & Pneumatic Systems (Automation & Electrical Technicians)
NFG-PE-CT55.3 Blue Light Only Compressor Stations
NFG-PE-CT56-Operate a Pipeline Compressor Station
NFG-PE-CT57.1-Repair a Engine/Compressor
NFG-PE-CT57.2-Compressor Analyst
NFG-PE-CT58-Maintain Gas Detection Systems and Alarms in Compressor Stations
NFG – AS-Built Completion Report Training
NFG – B-38 Training
Charts Training
NFG – Contractor Leak Repair (Below Grade)
NFG – Entry Level Driver Training
NFG - Flex Steel Training
NFG – NFG Hybrid Evaluator Training
Line Locating Training
MRC Training
Misc. Training
Odorant Training
NFG - 2025 Plastic Requal (Attendance)
NFG - 2025 Relight Requal (Attendance)
NFG - 2025 Stopping/Bagging Requal (Attendance)
NFG - 2025 Supply Inspector School (Attendance)
NFG - 2026 Electronic/Automation (Attendance)
NFG - 2026 F.I./Leak Survey Requal (Attendance)
NFG - 2026 Measurement/Regulation Requal (Attendance)
NFG - 2026 Odorant Requal (Attendance)
NFG - 2026 Plastic Requal (Attendance)
NFG - 2026 Relight Requal (Attendance)
NFG - 2026 Supply Comp./Field Requal (Attendance)
NFG - 2026 Supply Inspector School (Attendance)
NFG - NFG Operator Qualification Program Evaluator Code of Conduct
Part 1 - Introduction to Natural Gas Training
Part 2 - Plastic Joining Training
Part 3- Relighting Customers Appliances Training
Part 4 - Pressure Testing / Corrosion Training
Part 5-Tapping / Stopping Gas Flow Training
Part 6 - Leaks Reporting and F.I. Training
Part 7 - Customer Service Operations Training
NFG – Pipe Coatings Manufacturer Training
NFG – PVM Tool Training
NFG - Safety Leadership Course
NFG-SMITH Driver Improvement Training
Supply Training
NFG-Testing (Attendance)
Z-NFG-PE-RM301-DOT PHYSICAL (1 YEAR)
Z-NFG-PE-RM301A-DOT PHYSICAL (3 MONTH)
NFG-PE-429A - Hydrogen Sulfide ADVANCED - Drager Pump
NFG-TRAN-429A OQ Training for Task 429A
NFG-PE-01-Inspecting for Shorted Casings
NFG-TRAN-01-OQ Training for Task 01
NFG-02A-Measuring Pipe-To-Soil Potential (Measuring and Interpreting Readings)
NFG-TRAN-02A-OQ Training for Task 02A
NFG-02B-Measuring Pipe-To-Soil Potential (Measuring Only)
NFG-TRAN-02B-OQ Training for Task 02B
NFG-PE-03-Conduct a Soil Resistivity Survey
NFG-TRAN-03-OQ Training for Task 03
NFG-PE-CT04A-Conducting Interference Testing and Remediation
NFG-TRAN-04A-OQ Training for Task 04A
NFG-PE-CT05A-Electrically Checking for Proper Performance of Diodes and Interference Bonds, Including Testing for A/C Mitigation
NFG-TRAN-05A-OQ Training for Task 05A
NFG-PE-05B-Electrically Checking for Proper Performance of Diodes and Interference Bonds
NFG-TRAN-05B-OQ Training for Task 05B
NFG-PE-63B Install and Test Overpressure Protection (Non-MRC Tech)
NFG-TRAN-63B-OQ Training for Task 63B
NFG-PE-69B Monitoring Natural Gas Odorization-Sniff Test
NFG-TRAN-69B-OQ Training for Task 69B
NFG-PE-06A-Inspecting for Atmospheric Corrosion, Including Evaluation and Remediation
NFG-TRAN-06A-OQ Training for Task 6A
NFG-PE-07A & 13A-Installing, Replacing and Ensuring Operation of a Rectifier on a Pipeline (Installing, Replacing and Troubleshooting)
NFG-TRAN-07A & 13A-OQ Training for Task 07A & 13A
NFG-PE-08-Visually Inspecting for Internal Corrosion
NFG-TRAN-08-OQ Training for Task 08
NFG-PE-09-Internal Corrosion Coupons and Fluids/Solids Testing
NFG-TRAN-09-OQ Training for Task 09
NFG-PE-Clearing a Shorted Casing
NFG-TRAN-10-OQ Training for Task 10
NFG-PE-CT100-Hot Cuts (with Torches)
NFG-TRAN-100-OQ Training for Task 100
NFG-PE-11A, 12A & 17A-Pipe Coatings (BASIC)
NFG-TRAN-11A-OQ Training for Task 11A, 12A & 17A
NFG-PE-11B, 12B & 17B-Pipe Coatings (ADVANCED)
NFG-TRAN-11B-OQ Training for Task 11B, 12B & 17B
NFG-PE-11C/12C/17C PIPE COATINGS - HEAT SHRINK SLEEVE
NFG-TRAN-11C/12C/17C-OQ Training for Task 11C/12C/17C
NFG-PE-11D, 12D & 17D-Pipe Coatings (WAX)
NFG-TRAN-11D-OQ Training for Task 11D, 12D & 17D
NFG-PE-11E/12E/17E PIPE COATINGS - Mastic
NFG-TRAN-11E/12E/17E-OQ Training for Task 11E/12E/17E
NFG-PE-11F/12F/17F PIPE COATINGS - Cold Applied Tape
NFG-TRAN-11F/12F/17F-OQ Training for Task 11F/12F/17F
NFG-PE-11G/12G/17G-PIPE COATINGS - Two-Part Epoxy
NFG-TRAN-11G/12G/17G-OQ Training for Task 11G/12G/17G
NFG-PE-11H, 12H & 17H-Pipe Coatings (PAINT)
NFG-TRAN-11H-OQ Training for Task 11H 12H & 17H
NFG-PE-11I/12I/17I - Pipe Coatings (Multi-Layer Coating System)
NFG-TRAN-11I/12I/17I-OQ Training for Task 11I/12I/17I
NFG-PE-11J/12J/17J - Electrical Coating Holiday Detection (Jeeping)
NFG-TRAN-11J/12J/17J-OQ Training for Task 11J/12J/17J
NFG-PE-14A-Installing/Replacing an Anode
NFG-TRAN-14A-OQ Training for Task 14A
NFG-PE-14B-Installing/Replacing an Anode
NFG-TRAN-14B-OQ Training for Task 14b
NFG-PE-15A-Installing, Replacing and Testing Electrical Isolation Couplings
NFG-TRAN-15A-OQ Training for Task 15A
NFG-PE-15B-Installing and Replacing Electrical Isolation Couplings
NFG-TRAN-15B-OQ Training for Task 15B
NFG-PE-16A Installing or Replacing a Corrosion Test Station on a Pipeline
NFG-TRAN-16A-OQ Training for Task 16A
NFG-PE-16B Installing or Replacing a Corrosion Test Station on a Pipeline
NFG-TRAN-16B-OQ Training for Task 16B
NFG-PE-18A Conducting Gas Leakage Surveys (Mobile and Walking Surveys)
NFG-TRAN-18A-OQ Training for Task 18A
NFG HYB-PE-18B/19B - Leak Survey (Interior Jurisdictional Piping)
NFG-TRAN-18B/19B-OQ Training for Task 18B/19B
NFG-PE-19A-Patrolling-Inspecting Right of Ways, Pipeline Markers and Exposed Above Ground Mains
NFG-TRAN-19A-OQ Training for Task 19A
NFG-PE-201A-Removing Water or Liquids from a Low Pressure Drip or Main
NFG-TRAN-201A-OQ Training for Task 201A
NFG-PE-201B-Removing Water or Liquids from An Elevated Pressure Drip or Main
NFG-TRAN-201B-OQ Training for Task 201B
NFG-PE-202A-Restoring and Clearing a Service Line Using Methanol and CNG
NFG-PE-202B-Installing a Catalytic Heater
NFG-TRAN-202-OQ Training for Task 202
NFG-PE-20B-Investigating Leak or Odor Complaints (Outside Investigation Only)
NFG-TRAN-20B-OQ Training for Task 20B
NFG-PE-20C Investigating Leak or Odor Complaints (Inside)
NFG-TRAN-20C-OQ Training for Task 20C
NFG-PE-20D-Leak Classification
NFG-TRAN-20D-OQ Training for Task 20D
NFG-PE-21.1-Line Locating and Mark Out
NFG-TRAN-21-OQ Training for Task 21
NFG-PE-22A-Inspecting of 3rd Party Excavations for Damage Prevention, Including Root Cause Analysis
NFG-TRAN-22A-OQ Training for Task 22A
NFG-PE-22B-Inspecting of 3rd Party Excavations for Damage Prevention
NFG-TRAN-22B-OQ Training for Task 22B
NFG-PE-23 & 24-Inspecting the Condition of Exposed Pipe
NFG-TRAN-23/24-OQ Training for Task 23/24
NFG-PE-25B-Repairing a Transmission Pipe (Repair Clamp)
NFG-PE-25C-Repairing a Transmission Pipe (Composite Fiber Wrap)
NFG-PE-25D-Repairing a Transmission Pipe (Composite Repair Sleeve)
NFG-PE-25E-Repairing a Transmission Pipe (Hot Tap)
NFG-TRAN-25-OQ Training for Task 25
NFG-PE-26/27A - Inspecting, Operating, and Maintaining Transmission Valves (Including Lubricating)
NFG-TRAN-26/27A OQ Training for Task 26/27A
NFG-PE-28-Uprating
NFG-TRAN-28-OQ Training for Task 28
NFG-PE-29A & 30A-Repairing a Plastic, Steel and Cast Iron Distribution Pipe
NFG-TRAN-29/30A-OQ Training for Task 29A/30A
NFG-PE-29B & 30B-Repairing a Plastic Distribution Pipe
NFG-TRAN-29/30B-OQ Training for Task 29B/30B
NFG-PE-29C & 30C-Repairing a Steel Distribution Pipe
NFG-TRAN-29/30C-OQ Training for Task 29C/30C
NFG-PE-CT29D/30D-Encapsulation
NFG-TRAN-29D/30D-OQ Training for Task 29D/30D
NFG-PE-CT29E/30E-Royston Wrap Leak Repair
NFG-TRAN-29E/30E-OQ Training for Task 29E/30E
NFG-PE-CT29F/30F-Trident Seal
NFG-TRAN-29F/30F-OQ Training for Task 29F/30F
NFG-PE-31A-Installation of Pipe: Storage, Handling, and Inspection of Pipe: General Knowledge
NFG-TRAN-31A-OQ Training for Task 31A
NFG-PE-31B-Installation of Pipe: Install Pipe in a Ditch
NFG-TRAN-31B-OQ Training for Task 31B
NFG-PE-31C-Installation of Pipe:Installing Pipe by Horizontal Directional Drilling
NFG-TRAN-31C-OQ Training for Task 31C
NFG-PE-31D-Installation of Pipe: Installing Pipe by Horizontal Boring (Piercing Tools)
NFG-TRAN-31D-OQ Training for Task 31D
NFG-PE-31E-Installation of Pipe: Installing Pipe by Dead Insertion
NFG-TRAN-31E-OQ Training for Task 31E
NFG-PE-32 & 33-Purging a Pipeline In and Out of Service
NFG-TRAN-32/33-OQ Training for Task 32/33
NFG-PE-34A-Performing Pressure Test on a Pipeline
NFG-TRAN-34A-OQ Training for Task 34A
NFG-PE-34B-Performing a Pressure Test with Water or Inert Gas
NFG-TRAN-CT34B Pressure Testing with Inert/water
NFG-PE-35.1B Squeeze-Off (Any Size)
NFG-TRAN-35.1B-OQ Training for Task 35.1B
NFG-PE-35.1C Squeeze-Off (2" and Smaller)
NFG-TRAN-35.1C-OQ Training for Task 35.1C
NFG-PE-35.1D- Stopping Gas Flow (Hydraulic Squeeze)
NFG-TRAN-35.1D- Stopping Gas Flow (Hydraulic Squeeze)
NFG-PE-35.2 Bagging
NFG-TRAN-35.2-OQ Training for Task 35.2
NFG-PE-35.3-Stopping Gas Flow (Mechanical)
NFG-TRAN-35.3-OQ Training for Task 35.3
NFG-PE-36 & 47-Abandonment of Facilities
NFG-TRAN-36/47-OQ Training for Task 36/47
NFG-PE-37A-Tapping Plastic Pipe with Specialized Equipment
NFG-TRAN-37A-OQ Training for Task 37A
NFG-PE-37B-Tapping Cast Iron Pipe with Specialized Equipment
NFG-TRAN-37B-OQ Training for Task 37B
NFG-PE-37C-Tapping Steel Pipe with Specialized Equipment
NFG-TRAN-37C-OQ Training for Task 37C
NFG-PE-37D- Tapping Steel Pipe- L.P. Footage Tap
NFG-TRAN-37D- Tapping Steel Pipe- L.P. Footage Tap
NFG-PE-38A-Starting Up or Shutting Down Any Part of a Pipeline that Could Cause the MAOP to be Exceeded, Including Turning Valves and Monitoring Flows and Pressure
NFG-TRAN-38A-OQ Training for Task 38A
NFG-PE-38B-Starting Up or Shutting Down Any Part of a Pipeline that Could Cause the MAOP to be Exceeded, Including Turning Valves
NFG-TRAN-38B-OQ Training for Task 38B
NFG-PE-39A-Removing Service Tee or Fitting from Steel Pipe and Cast Iron Pipe
NFG-TRAN-39A-OQ Training for Task 39A
NFG-PE-39B-Removing Service Tee or Fitting from Steel Pipe
NFG-TRAN-39B-OQ Training for Task 39B
NFG-PE-40 - Install / Replace Tracer Wire
NFG-TRAN-40-OQ Training for Task 40
NFG-PE-41 & 42-Inspecting, Lubricating, Repairing and Operating Distribution Valves
NFG-TRAN-41/42-OQ Training for Task 41/42
NFG-PE-44 & 54 Welding on a Pipeline
NFG-TRAN-44/54-OQ Training for Task 44/54
NFG-PE-48-Tubing and Fitting Installation
NFG-TRAN-48-Tubing and Fitting Installation
NFG-PE-49-Mechanical Joining of Pipe Other than Plastic to Plastic Pipe
NFG-TRAN-49-OQ Training for Task 49
NFG-PE-49.3 Mechanical Joining of Pipe – Compression
NFG-TRAN-49.3-OQ Training for Task 49.3
NFG-PE-CT50-Saddle Electrofusion (PJQ-04)
NFG-TRAN-50/51/52C.04-OQ-CT50-Saddle Electrofusion (PJQ-04)
NFG-PE-CT50-Bolted (Bolt On) Fitting (PJQ-06)
NFG-TRAN-50/51B.06-CT50-Bolted (Bolt On) Fitting (PJQ-06)
NFG-PE-CT50-Coupling Electrofusion (PJQ-05)
NFG-TRAN-50/52C.05-CT50-Coupling Electrofusion (PJQ-05)
NFG-PE-CT50-Hydraulic Fusion (PJQ-11)
NFG-TRAN-50/52D-CT50-Hydraulic Fusion (PJQ-11)
NFG-PE-CT50-Manual Butt Fusion (PJQ-01B)
NFG-TRAN-50/52E-CT50-Manual Butt Fusion (PJQ-01B)
NFG-PE-CT50-Stab Fitting (PJQ-07)
NFG-TRAN-50B.07-CT50-Stab Fitting (PJQ-07)
NFG-PE-CT50-Compression Fitting (PJQ-08)
NFG-TRAN-50B.08-CT50-Compression Fitting (PJQ-08)
NFG-PE CT50-Nut Follower (Threaded Fitting) (PJQ-09)
NFG-TRAN-50B.09-CT50-Nut Follower (Threaded Fitting) (PJQ-09)
NFG-PE-PJQ-12-Service Head Adapter
NFG-TRAN-50B.12 OQ Training for Task 50B.12
NFG-PE-51D.1 - Tapping a Plastic Self Tapping Tee
NFG-PE-51D.2 - Tapping a Steel Self Tapping Tee
NFG-TRAN-51D.1-51D.2-Tapping Using Plastic and Steel Self Tapping Tees
NFG-PE-52 - Inspecting Plastic Pipe Joint
NFG-TRAN-52 OQ Training for Task 52
NFG-PE-CT55.1-Maintain a Pipeline Compressor Station
NFG-TRAN-55.1-OQ Training for CT55.1-Maintain a Pipeline Compressor Station
NFG-PE-CT55.2-Maintain a Pipeline Compressor Station (ESD Only)
NFG-TRAN-55.2-OQ Training for CT55.2-Maintain a Pipeline Compressor Station (ESD Only)
NFG-PE-CT55.2AET-ESD Electronic & Pneumatic Systems (Automation & Electrical Technicians)
NFG-TRAN-55.2AET-OQ Training for CT55.2AET
NFG-PE-55.3 Blue Light Only Compressor Stations
NFG-TRAN-55.3-OQ Training for Task 55.3
NFG-PE-CT56-Operate a Pipeline Compressor Station
NFG-TRAN-56-OQ Training for Task 56
NFG-PE-CT57-Repair a Compressor
NFG-TRAN-57-OQ Training for Task 57
NFG-PE-57.2 Repairing a Compressor (Compressor Station Engine Analyst)
NFG-TRAN-57.2-OQ Training for Task 57.2
NFG-PE-57.3 Compressor Station Emissions (Supervisor)
NFG-TRAN-57.3-OQ Training for Task 57.3
NFG-PE-CT58-Maintain Gas Detection Systems and Alarms in Compressor Stations
NFG-TRAN-58-OQ Training for Task 58
NFG-PE-59B Controlling and Monitoring Gas Pressures and Flows-Locally
NFG-TRAN-59 OQ Training for Task 59
NFG-PE-60B Operating Remote Control Valves-Locally
NFG-TRAN-60 OQ Training for Task 60
NFG-PE-61-Inspecting a Pressure Recording Gauge
NFG-TRAN-61-OQ Training for Task 61
NFG-PE-62A, 63A & 65A-Inspect and Test Pressure Regulator Station, Including Heating Equipment
NFG-TRAN-62A/63A/65A-OQ Training for Task 62A/63A/65A
NFG-PE-62B, 63B & 65B-Inspect and Test Pressure Regulator Station, Not Including Heating Equipment
NFG-TRAN-62B/63B/65B-OQ Training for Task 62A/63A/65A
NFG-PE-64-Inspecting Telemetering Equipment
NFG-TRAN-64-OQ Training for Task 64
NFG-PE-66A-Field Interpretation of Pressure Recording Charts and Electronic Devices
NFG-TRAN-66A-OQ Training for Task 66A
NFG-PE-66B-Field Interpretation of Pressure Recording Charts
NFG-TRAN-66B-OQ Training for Task 66B
NFG-PE-66C-Field Interpretation of Pressure Recording Electronic Devices
NFG-TRAN-66C-OQ Training for Task 66C
NFG HYB-PE-68A – Operating a Liquid Injection Type Odorizer
NFG HYB-PE-68B – Operating a Vaporization Type Odorizer (Bypass, Wick)
NFG HYB-PE-68C – Transferring Odorant
NFG-TRAN-68-OQ Training for Task 68
NFG-PE-69-Monitor Natural Gas Odorization Levels
NFG-TRAN-69-OQ Training for Task 69
NFG-PE-70-Properties of Natural Gas and Abnormal Operating Conditions
NFG-TRAN-70-OQ Training for Task 70
NFG-PE-71-Excavation & Backfill
NFG-TRAN-71-OQ Training for Task 71
NFG-PE-72A-Installing and Turning Off Residential, Small Commercial, Large Commercial and Industrial Meters and Regulators
NFG-TRAN-72A-OQ Training for Task 72A
NFG-PE-84-Bending of Steel Pipe
NFG-TRAN-84-Bending of Steel Pipe
NFG-PE-CT85-Meter Assembly Abnormal Operating Conditions
NFG-TRAN-85-OQ Training for Task 85
NFG-PE-CT88-Operation of a Combustible Gas Indicator
NFG-TRAN-88-OQ Training for Task 88
NFG-PE-89 - Bypassing a Meter
NFG-TRAN-89 OQ Training for Task 89
NFG-PE-92- In-Service Distribution Pipeline Pigging Operations
NFG-TRAN-92-OQ Training for Task 92
NFG-PE-CT93-Connecting CNG to Jurisdictional Piping (4 Pack & Trailer)
NFG-TRAN-93-OQ Training for Task 93
NFG-PE-94-PVM Tool
NFG-TRAN-94-OQ Training for Task 94
NFG-PE-CT95-GO VAC Portable Compression
NFG-TRAN-95-OQ Training for Task 95
NFG-PE-CT96-Jameson Locating Duct Rod
NFG-TRAN-96-OQ Training for Task 96
NFG-PE-CT97-GasCam Operation
NFG-TRAN-97-OQ Training for Task 97
NFG-PE-CT98-Manual Gas Sampling (Dew Point/H2S)
NFG-TRAN-98-OQ Training for Task 98
NFG-PE-CT99-AXIAL Cuts (Casing with Live Carrier)
NFG-TRAN-99-OQ Training for Task 99
NFG-PE-DATALOGGER
NFG-TRAN-DATALOGGER OQ Training for Task DATALOGGER
NFG-PE-RELIGHTS
NFG-TRAN-RELIGHTS OQ Training for Task RELIGHTS
NFG-PE-Vintage Pipe
NFG-TRAN-Vintage Pipe OQ Training for Task Vintage Pipe
Gravity Odorizer - PE
AVA-PE-20B-Outside Leak Investigation Only
AVA-PE-20C-Inside Leak Investigation Only
NGA-PE-88-Operation of a Combustible Gas Indicator
NGA-WE-20A-Investigating Leak and Odor Complaints (Inside and Outside)
AVA-PE-20B-Outside Leak Investigation Only
NGA-PE-88-Operation of a Combustible Gas Indicator
NGA-WE-20B-Investigating Leak and Odor Complaints (Outside Investigation Only)
AVA-PE-20C-Inside Leak Investigation Only
NGA-PE-88-Operation of a Combustible Gas Indicator
NGA-WE-20C-Investigating Leak and Odor Complaints (Inside Investigation Only)
AVA-PE-61-Inspect and Calibrate a Recording Gauge
NGA-WE-61A-Inspecting a Mechanical Pressure Recording Chart, Including Verification of Accuracy
AVA-PE-62A-Inspect a Pressure Regulator Station, Including Heating Equipment
NGA-WE-62A-Inspect a Pressure Regulation Station, Including Heating Equipment
AVA-PE-62B-Inspect a Pressure Regulator Station, Excluding Heating Equipment
NGA-WE-62B-Inspect a Pressure Regulation Station, Excluding Heating Equipment
AVA-PE-63-Test Overpressure Protective Equipment
NGA-WE-63-Inspect and Test Pressure Regulators and Overpressure Protection at a Pressure Regulator Station
AVA-PE-63A-Test Overpressure Protective Equipment at a Commercial & Industrial Meter Set
AVA-PE-68A.1-Inspecting and Operating an Injection Type Odorizer (YZ)
NGA-WE-68-Operating Odorization Equipment
AVA-PE-68A.2-Inspecting an Injection Type Odorizer (YZ)
NGA-WE-68-Operating Odorization Equipment
AVA-PE-68A.3-Inspecting an Injection Type Odorizer (GPL)
NGA-WE-68-Operating Odorization Equipment
AVA-PE-68A.4-Inspecting a Gravity Odorizer (Zeck)
NGA-WE-68-Operating Odorization Equipment
AVA-PE-72A-Installing and Turning Off Residential, Small Commercial, Large Commercial and Industrial Meters and Regulators-PE
NGA-WE-72A.1-Installing and Turning Off Meters (All Sizes) Including Regulators
AVA-PE-72B-Installing and Turning Off Residential and Small Commercial Meters and Regulators
NGA-WE-72B.1-Installing and Turning Off Meters (Residential and Small Commercial) Including Regulators
AVA-PE-72D-Installing and Turning On/Off Residential and Small Commercial Meters
NGA-WE-72B.1-Installing and Turning Off Meters (Residential and Small Commercial) Including Regulators
NFG-NGA-WE-29C/30C
NFG-NGA-WE-31B
NFG-NGA-WE-31D
NFG-NGA-WE-31E
NFG-NGA-WE-40
Evaluator Training
Evaluator Code of Conduct and Instructions
NGA Evaluator Shadowing OJT 1
NGA Evaluator Shadowing OJT 2
NGA Evaluator Shadowing OJT 3